## Summary
Kit Carson Electric Cooperative
Node Replacement with PON Analysis
Summary
Substation | Results | Commscope PIM-8E SFP CS-8001A | Commscope PIM-8E SFP ER CS-8001A
Amalia | Pass | 1 | 3
| Fail | 2 | 0
Sunshine | Pass | 1 | 9
| Fail | 8 | 0
Los Cordovas | Pass | 75 | 97
| Fail | 29 | 7
Total | Pass | 77 | 109
| Fail | 39 | 7
Percentage | Pass | 66.38% | 93.97%
| Fail | 33.62% | 6.034%

## Node Calc
Kit Carson Eletric Cooperative
Node Replacement with PON Analysis
Node Replacement Calculation
Node | Footage to Node | km to Node | Loss @ 1550nm 1 | Loss @ 1490nm 1 | Loss @ 1310nm 1 | Splitter Loss 2 | Longest Dist Line | Dist Line km | Dist. Loss @ 1550nm | Dist. Loss @ 1490nm | Dist. Loss @ 1310nm | Tap Loss 3 | Total Loss @ 1550nm | Total Loss @ 1490nm | Total Loss @ 1310nm | Worst Case Distance km 4 | Loss Budget Margin 5 | Budget less link DS | Budget less link US | Commscope PIM-8E SFP CS-8001A | Budget less link DS | Budget less link US | Commscope PIM-8E SFP ER CS-8001A | Number of SFPs
|  |  | 0.22 | 0.27 | 0.34 | 3.7 |  |  | 0.22 | 0.27 | 0.34 | [5 empty] | 3 |  |  | 28 |  |  | 31
[20 empty] | 28.5 |  |  | 31.5
AA02N | 28078 | 8.5582 | 1.8828 | 2.3107 | 2.9098 | 3.7 | 18477 | 5.6318 | 1.239 | 1.5206 | 1.9148 | 16.261 | 23.0828 | 23.7923 | 24.7856 | 19.8218 | 3 | 1.2077 | 0.71441 | Pass | 4.2077 | 3.7144 | Pass
AA03N | 45848 | 13.9745 | 3.0744 | 3.7731 | 4.7513 | 3.7 | 5224 | 1.5923 | 0.3503 | 0.42991 | 0.54137 | 17.1497 | 24.2744 | 25.0527 | 26.1424 | 17.159 | 3 | -0.052721 | -0.64239 | Fail | 2.9473 | 2.3576 | Pass
AA04N | 50678 | 15.4467 | 3.3983 | 4.1706 | 5.2519 | 3.7 | 934 | 0.28468 | 0.06263 | 0.076864 | 0.096792 | 17.4374 | 24.5983 | 25.3848 | 26.486 | 16.016 | 3 | -0.38483 | -0.98602 | Fail | 2.6152 | 2.014 | Pass | 2
SS07N | 38848 | 11.8409 | 2.605 | 3.197 | 4.0259 | 3.7 | 12422 | 3.7862 | 0.83297 | 1.0223 | 1.2873 | 16.667 | 23.805 | 24.5863 | 25.6802 | 19.4133 | 3 | 0.41365 | -0.18024 | Fail | 3.4137 | 2.8198 | Pass
SS06N-4 | 28398 | 8.6557 | 1.9043 | 2.337 | 2.9429 | 3.7 | 11789 | 3.5933 | 0.79052 | 0.97019 | 1.2217 | 16.7095 | 23.1043 | 23.7167 | 24.5741 | 15.8423 | 3 | 1.2833 | 0.92586 | Pass | 4.2833 | 3.9259 | Pass
SS18N | 36852 | 11.2325 | 2.4711 | 3.0328 | 3.819 | 3.7 | 13393 | 4.0822 | 0.89808 | 1.1022 | 1.3879 | 16.6019 | 23.6711 | 24.4369 | 25.5089 | 19.3969 | 3 | 0.56312 | -0.0089087 | Fail | 3.5631 | 2.9911 | Pass
SS16N | 50265 | 15.3208 | 3.3706 | 4.1366 | 5.2091 | 3.7 | 11132 | 3.393 | 0.74647 | 0.91612 | 1.1536 | 16.7535 | 24.5706 | 25.5063 | 26.8162 | 22.1068 | 3 | -0.50626 | -1.3162 | Fail | 2.4937 | 1.6838 | Pass
SS17N-4 | 42565 | 12.9738 | 2.8542 | 3.5029 | 4.4111 | 3.7 | 10197 | 3.108 | 0.68377 | 0.83917 | 1.0567 | 16.8162 | 24.0542 | 24.8583 | 25.9841 | 19.1899 | 3 | 0.14167 | -0.48406 | Fail | 3.1417 | 2.5159 | Pass
SS14N | 50910 | 15.5174 | 3.4138 | 4.1897 | 5.2759 | 3.7 | 4881 | 1.4877 | 0.3273 | 0.40169 | 0.50583 | 17.1727 | 24.6138 | 25.4641 | 26.6544 | 18.4928 | 3 | -0.46408 | -1.1544 | Fail | 2.5359 | 1.8456 | Pass
SS15N | 44143 | 13.4548 | 2.9601 | 3.6328 | 4.5746 | 3.7 | 9495 | 2.8941 | 0.6367 | 0.7814 | 0.98399 | 16.8633 | 24.1601 | 24.9775 | 26.1219 | 19.2429 | 3 | 0.022504 | -0.62192 | Fail | 3.0225 | 2.3781 | Pass
SS13N | 48665 | 14.8331 | 3.2633 | 4.0049 | 5.0433 | 3.7 | 4850 | 1.4783 | 0.32522 | 0.39914 | 0.50262 | 17.1748 | 24.4633 | 25.2788 | 26.4206 | 17.7897 | 3 | -0.27885 | -0.92064 | Fail | 2.7212 | 2.0794 | Pass
SS12N | 50445 | 15.3756 | 3.3826 | 4.1514 | 5.2277 | 3.7 | 4107 | 1.2518 | 0.2754 | 0.33799 | 0.42562 | 17.2246 | 24.5826 | 25.414 | 26.5779 | 17.8793 | 3 | -0.41401 | -1.0779 | Fail | 2.586 | 1.9221 | Pass | 5
LC01N | 28597 | 8.7164 | 1.9176 | 2.3534 | 2.9636 | 3.7 | 7720 | 2.3531 | 0.51767 | 0.63533 | 0.80004 | 16.9823 | 23.1176 | 23.6711 | 24.4459 | 13.4225 | 3 | 1.3289 | 1.0541 | Pass | 4.3289 | 4.0541 | Pass
LC02N | 79070 | 24.1005 | 5.3021 | 6.5071 | 8.1942 | 3.7 | 20680 | 6.3033 | 1.3867 | 1.7019 | 2.1431 | 16.1133 | 26.5021 | 28.0223 | 30.1506 | 36.7071 | 3 | -3.0223 | -4.6506 | Fail | -0.022308 | -1.6506 | Fail
LC03N | 42752 | 13.0308 | 2.8668 | 3.5183 | 4.4305 | 3.7 | 23664 | 7.2128 | 1.5868 | 1.9475 | 2.4523 | 15.9132 | 24.0668 | 25.079 | 26.496 | 27.4564 | 3 | -0.078958 | -0.99601 | Fail | 2.921 | 2.004 | Pass
LC04N | 63637 | 19.3966 | 4.2672 | 5.2371 | 6.5948 | 3.7 | 13530 | 4.1239 | 0.90727 | 1.1135 | 1.4021 | 16.5927 | 25.4672 | 26.6433 | 28.2897 | 27.6444 | 3 | -1.6433 | -2.7897 | Fail | 1.3567 | 0.2103 | Pass
LC05N | 68841 | 20.9827 | 4.6162 | 5.6653 | 7.1341 | 3.7 | 17887 | 5.452 | 1.1994 | 1.472 | 1.8537 | 16.3006 | 25.8162 | 27.1379 | 28.9884 | 31.8867 | 3 | -2.1379 | -3.4884 | Fail | 0.86206 | -0.48837 | Fail
LC06N | 55061 | 16.7826 | 3.6922 | 4.5313 | 5.7061 | 3.7 | 15361 | 4.682 | 1.03 | 1.2641 | 1.5919 | 16.47 | 24.8922 | 25.9654 | 27.4679 | 26.1467 | 3 | -0.9654 | -1.9679 | Fail | 2.0346 | 1.0321 | Pass
LC07N | 73773 | 22.486 | 4.9469 | 6.0712 | 7.6452 | 3.7 | 3805 | 1.1598 | 0.25515 | 0.31314 | 0.39432 | 17.2449 | 26.1469 | 27.3292 | 28.9844 | 24.8055 | 3 | -2.3292 | -3.4844 | Fail | 0.67079 | -0.48441 | Fail
LC08N | 34680 | 10.5705 | 2.3255 | 2.854 | 3.594 | 3.7 | 15584 | 4.75 | 1.045 | 1.2825 | 1.615 | 16.455 | 23.5255 | 24.2915 | 25.364 | 20.0705 | 3 | 0.70847 | 0.13604 | Pass | 3.7085 | 3.136 | Pass
LC09N | 71997 | 21.9447 | 4.8278 | 5.9251 | 7.4612 | 3.7 | 5935 | 1.809 | 0.39798 | 0.48843 | 0.61506 | 17.102 | 26.0278 | 27.2155 | 28.8783 | 25.5627 | 3 | -2.2155 | -3.3783 | Fail | 0.78449 | -0.37827 | Fail
LC100N | 12360 | 3.7673 | 0.82881 | 1.0172 | 1.2809 | 3.7 | 3141 | 0.95738 | 0.21062 | 0.25849 | 0.32551 | 17.2894 | 22.0288 | 22.265 | 22.5958 | 5.6821 | 3 | 2.735 | 2.9042 | Pass | 5.735 | 5.9042 | Pass
LC101N | 14425 | 4.3967 | 0.96728 | 1.1871 | 1.4949 | 3.7 | 4924 | 1.5008 | 0.33018 | 0.40523 | 0.51028 | 17.1698 | 22.1673 | 22.4622 | 22.875 | 7.3984 | 3 | 2.5378 | 2.625 | Pass | 5.5378 | 5.625 | Pass
LC102N | 24057 | 7.3326 | 1.6132 | 1.9798 | 2.4931 | 3.7 | 3379 | 1.0299 | 0.22658 | 0.27808 | 0.35017 | 17.2734 | 22.8132 | 23.2313 | 23.8167 | 9.3924 | 3 | 1.7687 | 1.6833 | Pass | 4.7687 | 4.6833 | Pass
LC103N | 21296 | 6.491 | 1.428 | 1.7526 | 2.2069 | 3.7 | 2694 | 0.82113 | 0.18065 | 0.22171 | 0.27918 | 17.3194 | 22.628 | 22.9936 | 23.5055 | 8.1333 | 3 | 2.0064 | 1.9945 | Pass | 5.0064 | 4.9945 | Pass
LC105N | 18374 | 5.6004 | 1.2321 | 1.5121 | 1.9041 | 3.7 | 2703 | 0.82387 | 0.18125 | 0.22245 | 0.28012 | 17.3187 | 22.4321 | 22.7533 | 23.203 | 7.2481 | 3 | 2.2467 | 2.297 | Pass | 5.2467 | 5.297 | Pass
LC106N | 30143 | 9.1876 | 2.0213 | 2.4806 | 3.1238 | 3.7 | 5808 | 1.7703 | 0.38946 | 0.47798 | 0.60189 | 17.1105 | 23.2213 | 23.7692 | 24.5362 | 12.7281 | 3 | 1.2308 | 0.96379 | Pass | 4.2308 | 3.9638 | Pass
LC107N-4 | 24794 | 7.5572 | 1.6626 | 2.0404 | 2.5695 | 3.7 | 4764 | 1.4521 | 0.31945 | 0.39206 | 0.4937 | 17.1805 | 22.8626 | 23.3131 | 23.9437 | 10.4613 | 3 | 1.6869 | 1.5563 | Pass | 4.6869 | 4.5563 | Pass
LC108N | 25403 | 7.7428 | 1.7034 | 2.0906 | 2.6326 | 3.7 | 3128 | 0.95341 | 0.20975 | 0.25742 | 0.32416 | 17.2902 | 22.9034 | 23.3382 | 23.947 | 9.6497 | 3 | 1.6618 | 1.553 | Pass | 4.6618 | 4.553 | Pass
LC109N-4 | 24300 | 7.4066 | 1.6295 | 1.9998 | 2.5183 | 3.7 | 1916 | 0.584 | 0.12848 | 0.15768 | 0.19856 | 17.3715 | 22.8295 | 23.229 | 23.7883 | 8.5746 | 3 | 1.771 | 1.7117 | Pass | 4.771 | 4.7117 | Pass
LC10N | 44723 | 13.6316 | 2.9989 | 3.6805 | 4.6347 | 3.7 | 17087 | 5.2081 | 1.1458 | 1.4062 | 1.7708 | 16.3542 | 24.1989 | 25.1409 | 26.4597 | 24.0478 | 3 | -0.14093 | -0.95971 | Fail | 2.8591 | 2.0403 | Pass
LC110N | 23417 | 7.1375 | 1.5703 | 1.9271 | 2.4268 | 3.7 | 1929 | 0.58796 | 0.12935 | 0.15875 | 0.19991 | 17.3706 | 22.7703 | 23.1565 | 23.6973 | 8.3134 | 3 | 1.8435 | 1.8027 | Pass | 4.8435 | 4.8027 | Pass
LC111N | 21646 | 6.5977 | 1.4515 | 1.7814 | 2.2432 | 3.7 | 4268 | 1.3009 | 0.28619 | 0.35124 | 0.4423 | 17.2138 | 22.6515 | 23.0464 | 23.5993 | 9.1995 | 3 | 1.9536 | 1.9007 | Pass | 4.9536 | 4.9007 | Pass
LC112N-4 | 18970 | 5.7821 | 1.2721 | 1.5612 | 1.9659 | 3.7 | 1580 | 0.48158 | 0.10595 | 0.13003 | 0.16374 | 17.3941 | 22.4721 | 22.7852 | 23.2237 | 6.7452 | 3 | 2.2148 | 2.2763 | Pass | 5.2148 | 5.2763 | Pass
LC113N | 18306 | 5.5797 | 1.2275 | 1.5065 | 1.8971 | 3.7 | 2287 | 0.69708 | 0.15336 | 0.18821 | 0.23701 | 17.3466 | 22.4275 | 22.7414 | 23.1807 | 6.9738 | 3 | 2.2586 | 2.3193 | Pass | 5.2586 | 5.3193 | Pass
LC11N | 79769 | 24.3136 | 5.349 | 6.5647 | 8.2666 | 3.7 | 6359 | 1.9382 | 0.42641 | 0.52332 | 0.659 | 17.0736 | 26.549 | 27.8616 | 29.6992 | 28.19 | 3 | -2.8616 | -4.1992 | Fail | 0.13842 | -1.1992 | Fail
LC12N | 41853 | 12.7568 | 2.8065 | 3.4443 | 4.3373 | 3.7 | 5236 | 1.5959 | 0.35111 | 0.4309 | 0.54262 | 17.1489 | 24.0065 | 24.7241 | 25.7288 | 15.9487 | 3 | 0.27587 | -0.22882 | Fail | 3.2759 | 2.7712 | Pass
LC13N | 35625 | 10.8585 | 2.3889 | 2.9318 | 3.6919 | 3.7 | 8745 | 2.6655 | 0.5864 | 0.71968 | 0.90626 | 16.9136 | 23.5889 | 24.2651 | 25.2117 | 16.1895 | 3 | 0.73493 | 0.28825 | Pass | 3.7349 | 3.2883 | Pass
LC14N-4 | 36898 | 11.2465 | 2.4742 | 3.0366 | 3.8238 | 3.7 | 11280 | 3.4381 | 0.75639 | 0.9283 | 1.169 | 16.7436 | 23.6742 | 24.4085 | 25.4364 | 18.1228 | 3 | 0.59154 | 0.063609 | Pass | 3.5915 | 3.0636 | Pass
LC15N | 35915 | 10.9469 | 2.4083 | 2.9557 | 3.7219 | 3.7 | 9211 | 2.8075 | 0.61765 | 0.75803 | 0.95455 | 16.8823 | 23.6083 | 24.296 | 25.2588 | 16.5619 | 3 | 0.70396 | 0.24116 | Pass | 3.704 | 3.2412 | Pass
LC161N-4 | 18447 | 5.6226 | 1.237 | 1.5181 | 1.9117 | 3.7 | 8678 | 2.6451 | 0.58191 | 0.71416 | 0.89932 | 16.9181 | 22.437 | 22.8504 | 23.4291 | 10.9128 | 3 | 2.1496 | 2.0709 | Pass | 5.1496 | 5.0709 | Pass
LC16N | 61730 | 18.8153 | 4.1394 | 5.0801 | 6.3972 | 3.7 | 11486 | 3.5009 | 0.77021 | 0.94525 | 1.1903 | 16.7298 | 25.3394 | 26.4552 | 28.0173 | 25.8172 | 3 | -1.4552 | -2.5173 | Fail | 1.5448 | 0.48268 | Pass
LC17N | 68002 | 20.727 | 4.5599 | 5.5963 | 7.0472 | 3.7 | 15178 | 4.6263 | 1.0178 | 1.2491 | 1.5729 | 16.4822 | 25.7599 | 27.0276 | 28.8023 | 29.9795 | 3 | -2.0276 | -3.3023 | Fail | 0.97239 | -0.30233 | Fail
LC18N-4 | 78361 | 23.8844 | 5.2546 | 6.4488 | 8.1207 | 3.7 | 11450 | 3.49 | 0.76779 | 0.94229 | 1.1866 | 16.7322 | 26.4546 | 27.8233 | 29.7395 | 30.8644 | 3 | -2.8233 | -4.2395 | Fail | 0.17671 | -1.2395 | Fail
LC19N | 61622 | 18.7824 | 4.1321 | 5.0712 | 6.386 | 3.7 | 5621 | 1.7133 | 0.37692 | 0.46259 | 0.58252 | 17.1231 | 25.3321 | 26.3569 | 27.7916 | 22.2089 | 3 | -1.3569 | -2.2916 | Fail | 1.6431 | 0.7084 | Pass
LC20N | 57456 | 17.5126 | 3.8528 | 4.7284 | 5.9543 | 3.7 | 7169 | 2.1851 | 0.48072 | 0.58998 | 0.74294 | 17.0193 | 25.0528 | 26.0377 | 27.4165 | 21.8828 | 3 | -1.0377 | -1.9165 | Fail | 1.9623 | 1.0835 | Pass
LC21N | 50885 | 15.5097 | 3.4121 | 4.1876 | 5.2733 | 3.7 | 6028 | 1.8373 | 0.40421 | 0.49608 | 0.62469 | 17.0958 | 24.6121 | 25.4795 | 26.6938 | 19.1844 | 3 | -0.4795 | -1.1938 | Fail | 2.5205 | 1.8062 | Pass
LC22N | 51643 | 15.7408 | 3.463 | 4.25 | 5.3519 | 3.7 | 10535 | 3.2111 | 0.70643 | 0.86699 | 1.0918 | 16.7936 | 24.663 | 25.6106 | 26.9372 | 22.1629 | 3 | -0.61057 | -1.4372 | Fail | 2.3894 | 1.5628 | Pass
LC23N | 48783 | 14.8691 | 3.2712 | 4.0146 | 5.0555 | 3.7 | 8678 | 2.6451 | 0.58191 | 0.71416 | 0.89932 | 16.9181 | 24.4712 | 25.3469 | 26.5729 | 20.1592 | 3 | -0.3469 | -1.0729 | Fail | 2.6531 | 1.9271 | Pass
LC24N-4 | 48820 | 14.8803 | 3.2737 | 4.0177 | 5.0593 | 3.7 | 9761 | 2.9752 | 0.65453 | 0.80329 | 1.0116 | 16.8455 | 24.4737 | 25.3664 | 26.6163 | 20.8306 | 3 | -0.36645 | -1.1163 | Fail | 2.6336 | 1.8837 | Pass
LC25N | 31415 | 9.5753 | 2.1066 | 2.5853 | 3.2556 | 3.7 | 14831 | 4.5205 | 0.99451 | 1.2205 | 1.537 | 16.5055 | 23.3066 | 24.0114 | 24.9981 | 18.6163 | 3 | 0.98865 | 0.50194 | Pass | 3.9886 | 3.5019 | Pass
LC26N-4 | 37027 | 11.2858 | 2.4829 | 3.0472 | 3.8372 | 3.7 | 2076 | 0.63276 | 0.13921 | 0.17085 | 0.21514 | 17.3608 | 23.6829 | 24.2788 | 25.1131 | 12.5514 | 3 | 0.72119 | 0.38689 | Pass | 3.7212 | 3.3869 | Pass
LC27N | 29984 | 9.1391 | 2.0106 | 2.4676 | 3.1073 | 3.7 | 5136 | 1.5655 | 0.3444 | 0.42267 | 0.53225 | 17.1556 | 23.2106 | 23.7458 | 24.4952 | 12.27 | 3 | 1.2542 | 1.0048 | Pass | 4.2542 | 4.0048 | Pass
LC28N | 31473 | 9.593 | 2.1105 | 2.5901 | 3.2616 | 3.7 | 11911 | 3.6305 | 0.7987 | 0.98023 | 1.2344 | 16.7013 | 23.3105 | 23.9716 | 24.8973 | 16.8539 | 3 | 1.0284 | 0.60273 | Pass | 4.0284 | 3.6027 | Pass
LC29N | 29727 | 9.0608 | 1.9934 | 2.4464 | 3.0807 | 3.7 | 8751 | 2.6673 | 0.58681 | 0.72017 | 0.90688 | 16.9132 | 23.1934 | 23.7798 | 24.6007 | 14.3954 | 3 | 1.2202 | 0.89926 | Pass | 4.2202 | 3.8993 | Pass
LC30N | 27819 | 8.4792 | 1.8654 | 2.2894 | 2.8829 | 3.7 | 10195 | 3.1074 | 0.68364 | 0.83901 | 1.0565 | 16.8164 | 23.0654 | 23.6448 | 24.4558 | 14.6941 | 3 | 1.3552 | 1.0442 | Pass | 4.3552 | 4.0442 | Pass
LC31N | 29145 | 8.8834 | 1.9543 | 2.3985 | 3.0204 | 3.7 | 8824 | 2.6896 | 0.5917 | 0.72618 | 0.91445 | 16.9083 | 23.1543 | 23.733 | 24.5431 | 14.2625 | 3 | 1.267 | 0.9569 | Pass | 4.267 | 3.9569 | Pass
LC32N | 21428 | 6.5313 | 1.4369 | 1.7634 | 2.2206 | 3.7 | 9719 | 2.9624 | 0.65172 | 0.79983 | 1.0072 | 16.8483 | 22.6369 | 23.1116 | 23.7761 | 12.456 | 3 | 1.8884 | 1.7239 | Pass | 4.8884 | 4.7239 | Pass
LC33N | 23802 | 7.2548 | 1.5961 | 1.9588 | 2.4666 | 3.7 | 5225 | 1.5926 | 0.35037 | 0.43 | 0.54148 | 17.1496 | 22.7961 | 23.2384 | 23.8578 | 10.44 | 3 | 1.7616 | 1.6422 | Pass | 4.7616 | 4.6422 | Pass
LC34N-4 | 39880 | 12.1554 | 2.6742 | 3.282 | 4.1328 | 3.7 | 2229 | 0.6794 | 0.14947 | 0.18344 | 0.231 | 17.3505 | 23.8742 | 24.5159 | 25.4144 | 13.5142 | 3 | 0.48407 | 0.085628 | Pass | 3.4841 | 3.0856 | Pass
LC35N | 25897 | 7.8934 | 1.7365 | 2.1312 | 2.6838 | 3.7 | 6554 | 1.9977 | 0.43949 | 0.53937 | 0.6792 | 17.0605 | 22.9365 | 23.4311 | 24.1235 | 11.8887 | 3 | 1.5689 | 1.3765 | Pass | 4.5689 | 4.3765 | Pass
LC36N | 25354 | 7.7279 | 1.7001 | 2.0865 | 2.6275 | 3.7 | 4694 | 1.4307 | 0.31476 | 0.3863 | 0.48645 | 17.1852 | 22.9001 | 23.3581 | 23.9992 | 10.5894 | 3 | 1.6419 | 1.5008 | Pass | 4.6419 | 4.5008 | Pass
LC37N | 22763 | 6.9382 | 1.5264 | 1.8733 | 2.359 | 3.7 | 4944 | 1.5069 | 0.33152 | 0.40687 | 0.51236 | 17.1685 | 22.7264 | 23.1487 | 23.7398 | 9.952 | 3 | 1.8513 | 1.7602 | Pass | 4.8513 | 4.7602 | Pass
LC38N | 24512 | 7.4713 | 1.6437 | 2.0172 | 2.5402 | 3.7 | 3243 | 0.98847 | 0.21746 | 0.26689 | 0.33608 | 17.2825 | 22.8437 | 23.2667 | 23.8588 | 9.4482 | 3 | 1.7333 | 1.6412 | Pass | 4.7333 | 4.6412 | Pass
LC39N | 23017 | 7.0156 | 1.5434 | 1.8942 | 2.3853 | 3.7 | 4048 | 1.2338 | 0.27144 | 0.33313 | 0.4195 | 17.2286 | 22.7434 | 23.1559 | 23.7334 | 9.4832 | 3 | 1.8441 | 1.7666 | Pass | 4.8441 | 4.7666 | Pass
LC40N | 22359 | 6.815 | 1.4993 | 1.8401 | 2.3171 | 3.7 | 5920 | 1.8044 | 0.39697 | 0.48719 | 0.6135 | 17.103 | 22.6993 | 23.1303 | 23.7336 | 10.4239 | 3 | 1.8697 | 1.7664 | Pass | 4.8697 | 4.7664 | Pass
LC41N | 20309 | 6.1902 | 1.3618 | 1.6713 | 2.1047 | 3.7 | 4085 | 1.2451 | 0.27392 | 0.33618 | 0.42334 | 17.2261 | 22.5618 | 22.9336 | 23.4541 | 8.6804 | 3 | 2.0664 | 2.0459 | Pass | 5.0664 | 5.0459 | Pass
LC42N | 24219 | 7.382 | 1.624 | 1.9931 | 2.5099 | 3.7 | 8507 | 2.5929 | 0.57045 | 0.70009 | 0.8816 | 16.9296 | 22.824 | 23.3228 | 24.021 | 12.5678 | 3 | 1.6772 | 1.479 | Pass | 4.6772 | 4.479 | Pass
LC43N | 18741 | 5.7123 | 1.2567 | 1.5423 | 1.9422 | 3.7 | 4563 | 1.3908 | 0.30598 | 0.37552 | 0.47287 | 17.194 | 22.4567 | 22.8118 | 23.3091 | 8.4939 | 3 | 2.1882 | 2.1909 | Pass | 5.1882 | 5.1909 | Pass
LC44N-4 | 18459 | 5.6263 | 1.2378 | 1.5191 | 1.9129 | 3.7 | 7688 | 2.3433 | 0.51553 | 0.63269 | 0.79672 | 16.9845 | 22.4378 | 22.8363 | 23.3941 | 10.3129 | 3 | 2.1637 | 2.1059 | Pass | 5.1637 | 5.1059 | Pass
LC45N | 14373 | 4.3809 | 0.9638 | 1.1828 | 1.4895 | 3.7 | 4678 | 1.4259 | 0.31369 | 0.38498 | 0.48479 | 17.1863 | 22.1638 | 22.4541 | 22.8606 | 7.2326 | 3 | 2.5459 | 2.6394 | Pass | 5.5459 | 5.6394 | Pass
LC46N | 17970 | 5.4773 | 1.205 | 1.4789 | 1.8623 | 3.7 | 3036 | 0.92537 | 0.20358 | 0.24985 | 0.31463 | 17.2964 | 22.405 | 22.7251 | 23.1733 | 7.328 | 3 | 2.2749 | 2.3267 | Pass | 5.2749 | 5.3267 | Pass
LC47N | 14988 | 4.5683 | 1.005 | 1.2335 | 1.5532 | 3.7 | 3655 | 1.114 | 0.24509 | 0.30079 | 0.37877 | 17.2549 | 22.205 | 22.4892 | 22.8869 | 6.7964 | 3 | 2.5108 | 2.6131 | Pass | 5.5108 | 5.6131 | Pass
LC48N | 45788 | 13.9562 | 3.0704 | 3.7682 | 4.7451 | 3.7 | 6556 | 1.9983 | 0.43962 | 0.53953 | 0.67941 | 17.0604 | 24.2704 | 25.0681 | 26.1849 | 17.9527 | 3 | -0.068083 | -0.68489 | Fail | 2.9319 | 2.3151 | Pass
LC49N-4 | 45448 | 13.8525 | 3.0476 | 3.7402 | 4.7099 | 3.7 | 4957 | 1.5109 | 0.3324 | 0.40794 | 0.5137 | 17.1676 | 24.2476 | 25.0157 | 26.0912 | 16.8743 | 3 | -0.015733 | -0.59117 | Fail | 2.9843 | 2.4088 | Pass
LC50N | 47553 | 14.4942 | 3.1887 | 3.9134 | 4.928 | 3.7 | 5363 | 1.6346 | 0.35962 | 0.44135 | 0.55578 | 17.1404 | 24.3887 | 25.1952 | 26.3242 | 17.7634 | 3 | -0.19515 | -0.82417 | Fail | 2.8048 | 2.1758 | Pass
LC51N | 42312 | 12.8967 | 2.8373 | 3.4821 | 4.3849 | 3.7 | 4338 | 1.3222 | 0.29089 | 0.357 | 0.44956 | 17.2091 | 24.0373 | 24.7482 | 25.7435 | 15.5411 | 3 | 0.25178 | -0.24354 | Fail | 3.2518 | 2.7565 | Pass
LC52N | 40115 | 12.2271 | 2.69 | 3.3013 | 4.1572 | 3.7 | 5364 | 1.6349 | 0.35969 | 0.44144 | 0.55588 | 17.1403 | 23.89 | 24.5831 | 25.5534 | 15.4969 | 3 | 0.41695 | -0.053391 | Fail | 3.4169 | 2.9466 | Pass
LC53N | 47217 | 14.3917 | 3.1662 | 3.8858 | 4.8932 | 3.7 | 1975 | 0.60198 | 0.13244 | 0.16253 | 0.20467 | 17.3676 | 24.3662 | 25.1159 | 26.1654 | 15.5957 | 3 | -0.11587 | -0.66543 | Fail | 2.8841 | 2.3346 | Pass
LC54N | 31218 | 9.5152 | 2.0934 | 2.5691 | 3.2352 | 3.7 | 5373 | 1.6377 | 0.36029 | 0.44218 | 0.55681 | 17.1397 | 23.2934 | 23.851 | 24.6317 | 12.7906 | 3 | 1.149 | 0.86829 | Pass | 4.149 | 3.8683 | Pass
LC55N | 38386 | 11.7001 | 2.574 | 3.159 | 3.978 | 3.7 | 10551 | 3.2159 | 0.70751 | 0.86831 | 1.0934 | 16.7925 | 23.774 | 24.5198 | 25.5639 | 18.1319 | 3 | 0.48019 | -0.063931 | Fail | 3.4802 | 2.9361 | Pass
LC59N | 40889 | 12.463 | 2.7419 | 3.365 | 4.2374 | 3.7 | 6857 | 2.09 | 0.4598 | 0.5643 | 0.7106 | 17.0402 | 23.9419 | 24.6695 | 25.6882 | 16.643 | 3 | 0.3305 | -0.18821 | Fail | 3.3305 | 2.8118 | Pass
LC60N | 42914 | 13.0802 | 2.8776 | 3.5317 | 4.4473 | 3.7 | 5319 | 1.6212 | 0.35667 | 0.43773 | 0.55122 | 17.1433 | 24.0776 | 24.8127 | 25.8418 | 16.3226 | 3 | 0.18729 | -0.34181 | Fail | 3.1873 | 2.6582 | Pass
LC61N | 33378 | 10.1736 | 2.2382 | 2.7469 | 3.459 | 3.7 | 7374 | 2.2476 | 0.49447 | 0.60685 | 0.76418 | 17.0055 | 23.4382 | 24.0593 | 24.9287 | 14.6688 | 3 | 0.94074 | 0.57126 | Pass | 3.9407 | 3.5713 | Pass
LC62N | 37959 | 11.5699 | 2.5454 | 3.1239 | 3.9338 | 3.7 | 3681 | 1.122 | 0.24683 | 0.30293 | 0.38147 | 17.2532 | 23.7454 | 24.38 | 25.2684 | 13.8138 | 3 | 0.62003 | 0.2316 | Pass | 3.62 | 3.2316 | Pass
LC63N-4 | 32768 | 9.9877 | 2.1973 | 2.6967 | 3.3958 | 3.7 | 3142 | 0.95768 | 0.21069 | 0.25857 | 0.32561 | 17.2893 | 23.3973 | 23.9446 | 24.7107 | 11.903 | 3 | 1.0554 | 0.78926 | Pass | 4.0554 | 3.7893 | Pass
LC64N-4 | 33466 | 10.2004 | 2.2441 | 2.7541 | 3.4681 | 3.7 | 4469 | 1.3622 | 0.29967 | 0.36778 | 0.46313 | 17.2003 | 23.4441 | 24.0222 | 24.8316 | 12.9247 | 3 | 0.97777 | 0.66839 | Pass | 3.9778 | 3.6684 | Pass
LC65N | 31814 | 9.6969 | 2.1333 | 2.6182 | 3.2969 | 3.7 | 3922 | 1.1954 | 0.26299 | 0.32276 | 0.40644 | 17.237 | 23.3333 | 23.8779 | 24.6404 | 12.0878 | 3 | 1.1221 | 0.8596 | Pass | 4.1221 | 3.8596 | Pass
LC66N | 10049 | 3.0629 | 0.67385 | 0.82699 | 1.0414 | 3.7 | 10410 | 3.173 | 0.69805 | 0.8567 | 1.0788 | 16.8019 | 21.8738 | 22.1856 | 22.6222 | 9.4089 | 3 | 2.8144 | 2.8778 | Pass | 5.8144 | 5.8778 | Pass
LC67N | 25581 | 7.7971 | 1.7154 | 2.1052 | 2.651 | 3.7 | 5737 | 1.7486 | 0.3847 | 0.47213 | 0.59454 | 17.1153 | 22.9154 | 23.3926 | 24.0608 | 11.2944 | 3 | 1.6074 | 1.4392 | Pass | 4.6074 | 4.4392 | Pass
LC68N | 12139 | 3.7 | 0.81399 | 0.99899 | 1.258 | 3.7 | 5229 | 1.5938 | 0.35064 | 0.43033 | 0.54189 | 17.1494 | 22.014 | 22.2787 | 22.6492 | 6.8876 | 3 | 2.7213 | 2.8508 | Pass | 5.7213 | 5.8508 | Pass
LC69N | 40889 | 12.463 | 2.7419 | 3.365 | 4.2374 | 3.7 | 5055 | 1.5408 | 0.33897 | 0.41601 | 0.52386 | 17.161 | 23.9419 | 24.642 | 25.6223 | 15.5445 | 3 | 0.35796 | -0.1223 | Fail | 3.358 | 2.8777 | Pass
LC70N-4 | 22031 | 6.715 | 1.4773 | 1.8131 | 2.2831 | 3.7 | 9991 | 3.0453 | 0.66996 | 0.82222 | 1.0354 | 16.83 | 22.6773 | 23.1653 | 23.8485 | 12.8056 | 3 | 1.8347 | 1.6515 | Pass | 4.8347 | 4.6515 | Pass
LC71N | 22434 | 6.8379 | 1.5043 | 1.8462 | 2.3249 | 3.7 | 2175 | 0.66294 | 0.14585 | 0.17899 | 0.2254 | 17.3542 | 22.7043 | 23.0794 | 23.6044 | 8.1638 | 3 | 1.9206 | 1.8956 | Pass | 4.9206 | 4.8956 | Pass
LC72N | 21411 | 6.5261 | 1.4357 | 1.762 | 2.2189 | 3.7 | 11839 | 3.6085 | 0.79388 | 0.9743 | 1.2269 | 16.7061 | 22.6357 | 23.1425 | 23.8519 | 13.7431 | 3 | 1.8575 | 1.6481 | Pass | 4.8575 | 4.6481 | Pass
LC73N | 19281 | 5.8768 | 1.2929 | 1.5867 | 1.9981 | 3.7 | 3300 | 1.0058 | 0.22128 | 0.27158 | 0.34199 | 17.2787 | 22.4929 | 22.837 | 23.3188 | 7.8885 | 3 | 2.163 | 2.1812 | Pass | 5.163 | 5.1812 | Pass
LC74N | 17111 | 5.2154 | 1.1474 | 1.4082 | 1.7732 | 3.7 | 3120 | 0.95098 | 0.20921 | 0.25676 | 0.32333 | 17.2908 | 22.3474 | 22.6557 | 23.0874 | 7.1174 | 3 | 2.3443 | 2.4126 | Pass | 5.3443 | 5.4126 | Pass
LC75N | 24019 | 7.321 | 1.6106 | 1.9767 | 2.4891 | 3.7 | 5100 | 1.5545 | 0.34199 | 0.41971 | 0.52852 | 17.158 | 22.8106 | 23.2544 | 23.8757 | 10.43 | 3 | 1.7456 | 1.6243 | Pass | 4.7456 | 4.6243 | Pass
LC76N-4 | 19253 | 5.8683 | 1.291 | 1.5844 | 1.9952 | 3.7 | 3260 | 0.99365 | 0.2186 | 0.26828 | 0.33784 | 17.2814 | 22.491 | 22.8341 | 23.3145 | 7.8556 | 3 | 2.1659 | 2.1855 | Pass | 5.1659 | 5.1855 | Pass
LC77N | 20369 | 6.2085 | 1.3659 | 1.6763 | 2.1109 | 3.7 | 4621 | 1.4085 | 0.30987 | 0.38029 | 0.47888 | 17.1901 | 22.5659 | 22.9467 | 23.4799 | 9.0254 | 3 | 2.0533 | 2.0201 | Pass | 5.0533 | 5.0201 | Pass
LC81N | 19996 | 6.0948 | 1.3409 | 1.6456 | 2.0722 | 3.7 | 4825 | 1.4707 | 0.32355 | 0.39708 | 0.50002 | 17.1765 | 22.5409 | 22.9191 | 23.4487 | 9.0361 | 3 | 2.0809 | 2.0513 | Pass | 5.0809 | 5.0513 | Pass
LC85N | 7411 | 2.2589 | 0.49695 | 0.6099 | 0.76802 | 3.7 | 3664 | 1.1168 | 0.24569 | 0.30153 | 0.37971 | 17.2543 | 21.697 | 21.8657 | 22.102 | 4.4924 | 3 | 3.1343 | 3.398 | Pass | 6.1343 | 6.398 | Pass
LC86N | 17145 | 5.2258 | 1.1497 | 1.411 | 1.7768 | 3.7 | 3128 | 0.95341 | 0.20975 | 0.25742 | 0.32416 | 17.2902 | 22.3497 | 22.6586 | 23.0912 | 7.1326 | 3 | 2.3414 | 2.4088 | Pass | 5.3414 | 5.4088 | Pass
LC87N-4 | 21901 | 6.6754 | 1.4686 | 1.8024 | 2.2696 | 3.7 | 2109 | 0.64282 | 0.14142 | 0.17356 | 0.21856 | 17.3586 | 22.6686 | 23.0345 | 23.5468 | 7.9611 | 3 | 1.9655 | 1.9532 | Pass | 4.9655 | 4.9532 | Pass
LC88N | 22717 | 6.9241 | 1.5233 | 1.8695 | 2.3542 | 3.7 | 3347 | 1.0202 | 0.22444 | 0.27544 | 0.34686 | 17.2756 | 22.7233 | 23.1205 | 23.6766 | 8.9645 | 3 | 1.8795 | 1.8234 | Pass | 4.8795 | 4.8234 | Pass
LC89N-4 | 14268 | 4.3489 | 0.95675 | 1.1742 | 1.4786 | 3.7 | 3994 | 1.2174 | 0.26782 | 0.32869 | 0.41391 | 17.2322 | 22.1568 | 22.4351 | 22.8247 | 6.7836 | 3 | 2.5649 | 2.6753 | Pass | 5.5649 | 5.6753 | Pass
LC90N | 13763 | 4.195 | 0.92289 | 1.1326 | 1.4263 | 3.7 | 2563 | 0.7812 | 0.17186 | 0.21092 | 0.26561 | 17.3281 | 22.1229 | 22.3717 | 22.72 | 5.7574 | 3 | 2.6283 | 2.78 | Pass | 5.6283 | 5.78 | Pass
LC91N | 29429 | 8.97 | 1.9734 | 2.4219 | 3.0498 | 3.7 | 3344 | 1.0193 | 0.22424 | 0.2752 | 0.34655 | 17.2758 | 23.1734 | 23.6729 | 24.3721 | 11.0085 | 3 | 1.3271 | 1.1279 | Pass | 4.3271 | 4.1279 | Pass
LC92N | 25293 | 7.7093 | 1.696 | 2.0815 | 2.6212 | 3.7 | 3669 | 1.1183 | 0.24603 | 0.30194 | 0.38023 | 17.254 | 22.896 | 23.3374 | 23.9554 | 9.9459 | 3 | 1.6626 | 1.5446 | Pass | 4.6626 | 4.5446 | Pass
LC93N-4 | 15323 | 4.6705 | 1.0275 | 1.261 | 1.588 | 3.7 | 2462 | 0.75042 | 0.16509 | 0.20261 | 0.25514 | 17.3349 | 22.2275 | 22.4985 | 22.878 | 6.1713 | 3 | 2.5015 | 2.622 | Pass | 5.5015 | 5.622 | Pass
LC94N | 15847 | 4.8302 | 1.0626 | 1.3041 | 1.6423 | 3.7 | 1675 | 0.51054 | 0.11232 | 0.13785 | 0.17358 | 17.3877 | 22.2626 | 22.5297 | 22.9035 | 5.8512 | 3 | 2.4703 | 2.5965 | Pass | 5.4703 | 5.5965 | Pass
LC95N | 13901 | 4.237 | 0.93215 | 1.144 | 1.4406 | 3.7 | 2554 | 0.77846 | 0.17126 | 0.21018 | 0.26468 | 17.3287 | 22.1321 | 22.3829 | 22.734 | 5.7939 | 3 | 2.6171 | 2.766 | Pass | 5.6171 | 5.766 | Pass
LC96N | 7250 | 2.2098 | 0.48616 | 0.59665 | 0.75133 | 3.7 | 3479 | 1.0604 | 0.23329 | 0.28631 | 0.36054 | 17.2667 | 21.6862 | 21.8497 | 22.0786 | 4.3306 | 3 | 3.1503 | 3.4214 | Pass | 6.1503 | 6.4214 | Pass
LC97N | 8467 | 2.5807 | 0.56776 | 0.6968 | 0.87745 | 3.7 | 2802 | 0.85405 | 0.18789 | 0.23059 | 0.29038 | 17.3121 | 21.7678 | 21.9395 | 22.1799 | 4.2888 | 3 | 3.0605 | 3.3201 | Pass | 6.0605 | 6.3201 | Pass
LC98N | 5259 | 1.6029 | 0.35265 | 0.43279 | 0.545 | 3.7 | 2636 | 0.80345 | 0.17676 | 0.21693 | 0.27317 | 17.3232 | 21.5526 | 21.673 | 21.8414 | 3.2098 | 3 | 3.327 | 3.6586 | Pass | 6.327 | 6.6586 | Pass
LC99N | 11302 | 3.4448 | 0.75787 | 0.93011 | 1.1712 | 3.7 | 4890 | 1.4905 | 0.3279 | 0.40243 | 0.50676 | 17.1721 | 21.9579 | 22.2046 | 22.5501 | 6.4258 | 3 | 2.7954 | 2.9499 | Pass | 5.7954 | 5.9499 | Pass | 52
Notes:
1 Fiber Losses based upon Commscope Lightscope ZWP Single Mode Fiber
2 Generic 2-way optical splitter
3 Tap loss is calculated by subtracting the fiber loss @ 1550nm from the RFoG Loss budget of 17.5dB
4 The worst case seperation of any two ports in the node. Calculated as twice the longest distribution line.
5 Margin includes the drop, connectors, and splices.

## Loss Budget Calc
Kit Carson Eletric Cooperative
Node Replacement with PON Analysis
Loss Budget Calculation
Manufacturer | Commscope | Commscope
OLT Optics Unit | PIM-8E SFP | PIM-8E SFP ER
ONU Unit | CS-8001A | CS-8001A
OLT Output Min Pwr (dBm) | 2 | 5
ONU Rx Min Pwr (dBm) | -26.5 | -26.5
Downstream Optical Penalty (dB) 1 | 0.5 | 0.5
Downstream Loss Budget (dB) | 28 | 31
ONU Output Min Pwr (dBm) | 0 | 0
OLT Rx Min Pwr (dBm) | -29 | -32
Upstream Optical Penalty (dB) 1 | 0.5 | 0.5
Upstream Loss Budget (dB) | 28.5 | 31.5
Notes:
1 Where no optical penalty is specified, 0.5dB is used as per G.984.2